{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":338,"n_cols":11,"rows_kept":338,"merged":[[0,0,0,10],[1,8,2,8],[1,9,2,9],[1,10,2,10]],"flags":["formulas_cached_only"]}
["天华富邦废水监测数据公示表"]
["监测时间","废水排放量（吨）","化学需氧量监测浓度(mg/L)","PH","氨氮监测浓度(mg/L)","石油类(mg/L)","悬浮物(mg/L)","硫化物(mg/L)","排放方式及去向","达标情况","超标倍数"]
[null,null,"限值＜100mg/L","6—9","限值＜15mg/L","限值＜5mg/L","限值＜70mg/L","限值＜1mg/L"]
["2020-01-01",1608.71,34.42,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-02",1595.49,31.78,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-03",1572,32.86,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-04",1570.92,30.74,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-05",1551.93,34.62,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-06",1489.14,37.63,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-07",1408.48,35.04,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-08",1505.11,31,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-09",1323.16,29.35,7.48,1.64,1,5.7,0.076,"直排小殿溪","达标"]
["2020-01-10",1536.93,27.79,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-11",1550.14,26.22,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-12",1619.64,25.19,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-13",1704.78,26.37,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-14",1525.53,24.55,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-15",1758.25,28.31,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-16",1753.67,27.32,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-17",1708.17,29.24,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-18",1715.02,30.59,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-19",1675.43,29.63,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-20",1667.89,25.24,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-21",1696.68,35.16,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-22",1680.95,41.28,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-23",1730.05,40.21,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-24",1816.39,39.2,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-25",1779.27,38.35,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-26",1743.61,42.56,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-27",1796.67,43.57,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-28",1784.79,42.3,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-29",1783.8,41.81,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-30",1788.06,40.66,{"$nulls":5},"直排小殿溪","达标"]
["2020-01-31",1771.16,39,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-01",1788.93,39.18,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-02",1933.92,38.85,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-03",1936.5,41.18,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-04",1919.16,42.08,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-05",1913.04,40.77,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-06",1909.05,40.64,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-07",1885.83,38.9,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-08",1977.45,39.2,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-09",2065.75,42.8,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-10",2055.28,36.31,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-11",2061.61,31.86,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-12",2075.13,35.61,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-13",2087.53,39.48,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-14",2029.71,27.58,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-15",2104.49,29.45,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-16",2071.03,37.97,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-17",2041.76,31.75,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-18",2032.5,32.65,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-19",2012.02,32.51,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-20",2009.43,30.13,7.77,2.64,1.13,5.2,0.062,"直排小殿溪","达标"]
["2020-02-21",1831.96,24.81,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-22",1971.03,31.28,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-23",1926.15,34.69,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-24",1934.74,28.23,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-25",1880.22,27.23,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-26",1854.33,30.4,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-27",1849.25,31.81,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-28",1737.42,29.18,{"$nulls":5},"直排小殿溪","达标"]
["2020-02-29",1814.04,31.54,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-01",1814.9,33.26,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-02",1821,30.9,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-03",1829.23,28.75,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-04",1829.52,31.57,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-05",1832.95,32.14,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-06",1713.3,33.52,7.9,1.75,1.08,5.3,0.107,"直排小殿溪","达标"]
["2020-03-07",1788.68,36.04,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-08",1794.77,38.57,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-09",1799.6,36.15,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-10",1796.11,33.75,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-11",1812.11,29.58,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-12",1797.3,29.28,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-13",1656.76,27.85,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-14",1816.95,28.56,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-15",1825.3,30.44,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-16",1837.02,28.35,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-17",1842.52,26.66,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-18",1770.12,29.53,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-19",1657.69,33.91,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-20",1466.65,36.86,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-21",1580.89,34.95,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-22",1706.83,34.3,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-23",1678.22,31.57,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-24",1791.23,27.6,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-25",1814.96,24.14,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-26",1950.79,28.78,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-27",1856.21,32.38,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-28",1989.06,36.62,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-29",2011.93,38.27,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-30",1996.08,41.6,{"$nulls":5},"直排小殿溪","达标"]
["2020-03-31",1976.08,34.45,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-01",1961.01,26.61,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-02",1207.38,33.62,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-03",1724.46,29.89,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-04",1752.63,23.84,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-05",1744.28,20.39,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-06",1718.78,20.72,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-07",1666.76,26.18,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-08",1550.15,30.63,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-09",1719.33,29.06,7.85,3.2,0.88,13,0.085,"直排小殿溪","达标"]
["2020-04-10",1741.21,27.29,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-11",1768.42,24.47,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-12",1750.53,23.34,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-13",1843.76,27.33,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-14",1855.24,29.28,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-15",1838.97,29.65,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-16",1831.52,26.46,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-17",1697.36,22.34,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-18",1393.54,17.69,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-19",1880.19,31.2,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-20",1880.52,35.95,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-21",1609.57,32.89,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-22",1987.31,33.12,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-23",2022.44,28.41,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-24",1817.86,25.66,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-25",1927.22,43.71,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-26",1866.64,38.42,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-27",1812.47,30.67,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-28",1928.7,26.09,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-29",1917.04,24.46,{"$nulls":5},"直排小殿溪","达标"]
["2020-04-30",1848.24,26.63,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-01",1694.55,29.23,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-02",1699.32,32.02,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-03",1687.53,36.15,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-04",1686.71,34.43,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-05",1727.72,31.77,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-06",1750.74,30.61,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-07",1689.81,34.03,7.68,1.1,1.11,4.7,0.064,"直排小殿溪","达标"]
["2020-05-08",1499.29,28.49,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-09",1577.92,28.7,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-10",1536.66,30.74,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-11",1778.82,34.24,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-12",1706.21,30.35,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-13",1612.82,29.19,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-14",1705.83,28.88,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-15",1395.62,27.53,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-16",1698.9,33.19,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-17",1669.01,40.03,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-18",1735.06,41.06,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-19",1832.77,36.06,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-20",1958.48,37.45,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-21",2001.55,31.51,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-22",1769.68,26.6,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-23",1884.68,30.37,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-24",1910.93,35.06,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-25",2001.9,36.88,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-26",1949,33.37,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-27",1967.78,33.21,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-28",1982.7,31.1,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-29",1576.49,27.54,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-30",1892.47,29.95,{"$nulls":5},"直排小殿溪","达标"]
["2020-05-31",1873.83,35.91,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-01",1732.74,36.58,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-02",2058.12,35.55,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-03",1476.5,37.46,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-04",1617.07,38.86,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-05",1286.29,36.81,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-06",1741.38,43.05,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-07",1825.85,62.59,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-08",1843.11,48.56,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-09",1727.59,40.35,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-10",1701.74,36.35,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-11",1773.34,40.71,7.67,1.31,0.92,5,0.035,"直排小殿溪","达标"]
["2020-06-12",1548.5,40.03,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-13",1732.67,33.73,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-14",1719.07,36.13,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-15",1684.53,34.73,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-16",1711.9,31.46,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-17",1763.8,24.59,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-18",1802.41,20,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-19",1544.26,25.72,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-20",2009.48,35.07,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-21",1706,40.67,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-22",1721.68,43.89,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-23",1691.05,39.92,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-24",1667.31,35.14,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-25",1571.92,35.41,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-26",1461.74,24.84,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-27",1588.96,29.06,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-28",1453.85,24.53,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-29",1439.88,23.62,{"$nulls":5},"直排小殿溪","达标"]
["2020-06-30",1420.68,25.77,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-01",1860.67,25.5,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-02",1558.74,27.08,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-03",1565.24,31.47,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-04",1655.16,44.47,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-05",1832.32,49.88,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-06",1837.56,38.83,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-07",1821.74,34.47,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-08",1778.55,31.91,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-09",1524.24,27.82,7.65,1.08,1.01,6.5,0.033,"直排小殿溪","达标"]
["2020-07-10",1732.71,21.69,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-11",1952.91,21.63,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-12",1982.53,19.47,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-13",1439.87,24.93,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-14",1279.41,33.54,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-15",1431.8,31.81,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-16",1881.52,33.75,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-17",1368.14,27.65,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-18",1158.68,27.33,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-19",1119.44,29.55,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-20",1241.02,29.63,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-21",1326.53,32.29,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-22",1331.5,33.98,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-23",1189.68,28.79,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-24",1138.94,28.92,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-25",1125.52,32.05,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-26",1922.48,26.72,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-27",1203.92,28.88,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-28",1077.1,37.44,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-29",1185.05,36.38,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-30",1095.05,34.3,{"$nulls":5},"直排小殿溪","达标"]
["2020-07-31",1169.04,24.77,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-01",1227.46,27.8,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-02",1406.7,37.14,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-03",1723.04,30.97,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-04",1716.42,28.62,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-05",1467.17,33.36,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-06",1469.85,28.26,7.19,2.11,1.07,5.3,0.035,"直排小殿溪","达标"]
["2020-08-07",1286.89,20.17,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-08",912.95,13.26,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-09",975.56,14.48,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-10",870.67,18.29,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-11",1090.32,25.08,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-12",1019.71,33.43,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-13",1133.53,36.96,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-14",1622.03,26.83,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-15",1599.74,29.52,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-16",1669.14,27.53,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-17",1152.12,24.84,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-18",1290.28,25.58,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-19",1581.89,27.03,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-20",1628.17,23.76,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-21",1545.67,25.84,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-22",1612.91,21.79,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-23",1611.48,25.04,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-24",1621.04,25.25,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-25",1396.24,26.06,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-26",1262.81,26.75,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-27",1419.9,30.97,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-28",1618.86,39.6,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-29",1936.45,31.45,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-30",1950.04,28.97,{"$nulls":5},"直排小殿溪","达标"]
["2020-08-31",1819.05,35.31,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-01",1575.58,31.76,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-02",1710.57,29.85,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-03",2042.27,31.42,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-04",1096.55,31.37,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-05",1446.29,21.43,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-06",2517.75,25.12,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-07",1961.69,29.24,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-08",2016.14,34.08,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-09",2030.12,33.06,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-10",2345.16,29.86,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-11",2028.8,27.44,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-12",2005.54,42.79,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-13",1974.54,42.29,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-14",2002.68,44.72,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-15",2147.08,39.63,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-16",2160.22,36.66,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-17",2188.36,41.06,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-18",1943.87,44.69,7.91,1.97,0.95,5.5,0.036,"直排小殿溪","达标"]
["2020-09-19",2132.09,43.29,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-20",2157.43,49.85,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-21",2292.66,41.14,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-22",2209.78,28,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-23",2159.63,33.35,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-24",2134.65,31.85,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-25",2127.36,26.92,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-26",2220.86,30.84,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-27",2174.33,34.84,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-28",2137.89,39.79,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-29",2232.07,32.17,{"$nulls":5},"直排小殿溪","达标"]
["2020-09-30",2193.74,30.99,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-01",2196.85,35.62,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-02",2042.43,36.57,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-03",2227.33,34.55,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-04",2255.74,35.28,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-05",2259.13,32.53,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-06",2424.9,30.43,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-07",2238.94,32.43,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-08",2203.96,32.13,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-09",2111.11,30.33,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-10",2307.12,29.86,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-11",2257.61,29.75,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-12",2220.18,29.62,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-13",2173.04,30.15,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-14",2117.6,30.66,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-15",2140.28,29.06,7.82,2.57,0.86,5.8,0.029,"直排小殿溪","达标"]
["2020-10-16",1885.66,34.61,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-17",2240.16,28.02,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-18",2223.85,27.13,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-19",2213.73,27.34,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-20",2212.71,29.91,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-21",2191.15,28.86,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-22",2210.67,31.11,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-23",1877.54,33.51,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-24",2070.14,35.7,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-25",2125.65,35.88,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-26",2106.78,38.05,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-27",2191.55,36.93,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-28",2224.67,36.09,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-29",2161.52,35.83,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-30",2048.85,36.89,{"$nulls":5},"直排小殿溪","达标"]
["2020-10-31",2171.55,37.03,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-01",2219.33,34.75,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-02",2216.86,31.92,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-03",2190.22,30.07,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-04",2109.74,27.96,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-05",2228.21,27.16,7.75,0.87,0.87,5.8,0.04,"直排小殿溪","达标"]
["2020-11-06",1980.4,28.49,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-07",2257.25,30.66,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-08",2232.56,35.01,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-09",2218.2,34.38,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-10",2184.04,33.33,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-11",1901.08,34.88,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-12",1917.74,33.95,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-13",1689.2,31.52,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-14",1910.22,32.6,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-15",1919.73,31.48,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-16",1904.78,34.05,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-17",1877.19,31.89,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-18",1779.11,32.9,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-19",1674.38,35.33,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-20",1467.88,30.1,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-21",1907.96,28.11,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-22",2212.43,21.44,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-23",2204.69,20.35,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-24",2180.52,19.22,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-25",2137.71,28.68,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-26",2134.98,35.66,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-27",1877.63,32.32,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-28",2132.53,28.84,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-29",2175.28,28.96,{"$nulls":5},"直排小殿溪","达标"]
["2020-11-30",2102.18,27.95,{"$nulls":5},"直排小殿溪","达标"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}